Animal Fire Risk Assessment
Becklands Land-Based Outdoor Studies

Assessment Date: February 2025
Review Date: September 2025
Assessor: Ash Jones
Fire Safety Manager: Ash Jones

1. Introduction

This Fire Risk Assessment aims to identify and reduce fire hazards and risks associated with animals at Becklands Land-Based Outdoor Studies. It ensures compliance with the Regulatory Reform (Fire Safety) Order 2005 and integrates fire safety procedures with animal welfare.

2. Fire Hazards and Risk Identification

2.1 Fire Hazards

- Combustible Materials: Hay, straw, wood shavings, feed sacks.

- Ignition Sources: Electrical equipment, lighting, heaters, and machinery.

- Flammable Substances: Cleaning chemicals and fuel, stored in COSHH cupboards.

- Muck Heap: Positioned away from buildings to minimize fire risk.

2.2 Fire Risk Reduction Measures

- Annual fire inspections conducted with a qualified fire inspector.

- Fire extinguishers positioned as per fire inspector recommendations.

- Water points located in every building and key outdoor areas:

  - Main stable block

  - Near sand paddock

  - Side of the agriculture sheds near riding school

  - Outside the kennels

- All staff complete Level 2 fire safety and health & safety training in-person.

- Staff also complete online fire marshal training annually.

- No smoking policy strictly enforced across the site.

- Proper storage of combustible materials in designated areas.

- Personal Emergency Evacuation Plans (PEEPs) in place for individuals with disabilities.

3. Evacuation Plan for Animals

3.1 General Evacuation Plan

- In the event of a fire, staff will follow Fire Operating Procedures 22 and 23 in the operating procedures guide.

- Staff responsible for animals will ensure their safe and efficient evacuation.

- Animals will be directed to pre-designated safe holding areas away from fire hazards.

- Designated fire marshals will lead the evacuation and ensure all areas are cleared.

- If necessary, emergency responders will be informed about the location of remaining animals.

3.2 Animal-Specific Fire Safety Measures

- Stable and kennel doors are kept unobstructed for quick evacuation.

- Regular checks ensure that fire exits remain accessible in all animal housing areas.

- Electrical equipment in animal housing areas is regularly inspected and PAT tested.

- Fire drills conducted every six months, including animal evacuation procedures.

4. Emergency Response and Firefighting Equipment

- Fire extinguishers are available throughout the premises in key locations.

- Staff trained in the correct use of fire extinguishers and emergency procedures.

- Fire drills completed yearly

- Fire detection and alarm systems regularly maintained.

- Water sources checked for functionality.

5. Staff Responsibilities and Training

- Fire Safety Manager (Ash) oversees all fire safety measures.

- All staff must be familiar with evacuation procedures and responsibilities.

- Fire wardens assigned to each area to assist in evacuations.

- Ongoing staff training ensures compliance with safety protocols.

6. Review and Monitoring

- Fire risk assessments reviewed annually and updated as needed.

- Fire procedures reviewed every six months in alignment with safety regulations.

- Any incidents reported and investigated to improve fire safety measures.

7. Conclusion

Becklands Land-Based Outdoor Studies prioritises fire safety by implementing strict procedures, training, and preventative measures. Regular fire safety audits, combined with proactive fire risk management, ensure the protection of people, animals, and property.